Comfort

- Double exterior walls with thermal brick and 6 cm thick XPS thermal insulation system.

- Minimalist anodized aluminum frames by Sosoares with thermal break.

- Heat pumps for hot sanitary water.

- Apartments with energy rating A/A+.

- Centralized electric blinds in the bedrooms.

- High-security entrance doors for apartments by Dierre.

- Switch Otis Gen2 elevator powered by solar panels.

- Daikin air conditioning embedded in ducts throughout the apartment.

- Electric underfloor heating throughout the apartment with remote control.

- Electric garage door.

- Smart home system by Hager with remote control for the entire apartment.

- Tempered laminated glass balcony railings.

- Garage spaces equipped with charging points for electric vehicles.

- Private storage in the basement.

- Heated swimming pool water via heat pump.

- Outdoor area for physical exercise.

Structural Elements

- Foundations with footings and reinforced concrete retaining walls with water-repellent additives.

- Partition walls between apartments with double layers of brick and intermediate air cavity with thermal and acoustic insulation in rock wool.

- All concrete slabs with thermal and acoustic insulation.

- Roof slab in concrete with 8 cm thermal insulation, coated with asphalt mesh.

Interiors

- High-density ceramic flooring by Marazzi, in 120x60 panels, smoothed with rectified joints, reference Carácter Mix Gris Natural Floor Tile.

- False ceilings made of plasterboard panels painted with antifungal plastic paint and embedded lighting by Arkoslight or equivalent.

- Open-plan kitchen integrated with the living room, featuring a Silestone/Dekton countertop.

- Lacquered kitchen cabinets lined with natural wood panels.

- Siemens/Bosch appliances and Bora induction cooktop.

- Shower walls finished with New Terracotta ceramic tiles.

- Fantini faucets, Duravit sanitary ware, and Foursteel electric towel rails.

- Shower cabins with tempered glass doors.

- Bathroom furniture by Querkus or equivalent, with Silestone countertops and sinks.

- Closets by Sangiacomo or equivalent.